Agency Name: Department of Agriculture

Statutory Authority: 39-41-80, 39-41-150

Document Number: 3123

Proposed in State Register Volume and Issue: 31/3

House Committee: Agriculture, Natural Resources and Environmental Affairs Committee

Senate Committee: Agriculture and Natural Resources Committee

120 Day Review Expiration Date for Automatic Approval: 05/07/2008

Final in State Register Volume and Issue: 32/3

Status: Final

Subject: Gasoline, Lubricating Oils and Other Petroleum Products

History: 3123

By	Date	Action Description	Jt. Res. No.	Expiration Date

-	03/23/2007	Proposed Reg Published in SR

-	01/08/2008	Received by Lt. Gov & Speaker		05/07/2008

H	01/08/2008	Referred to Committee

S	01/08/2008	Referred to Committee

H	01/30/2008	Resolution Introduced to Approve	4598

H	02/22/2008	Approved by:  Ratification No. 200

-	03/28/2008	Effective Date unless otherwise

provided for in the Regulation

Document No. 3123

DEPARTMENT OF AGRICULTURE

CHAPTER 5

Statutory Authority:  1976 Code Section 39-41-80 & 39-41-150.

R 5-440 et seq.	Petroleum Products Regulations

Synopsis:

The Department of Agriculture proposes these amendments to clarify and to provide a more efficient process for regulating and analyzing petroleum products, as authorized by S.C. Code, Title 39, Chapter 41.  Specifically, new language is being adopted to allow the Department to adequately regulate advances in the standards of traditional petroleum products, as well as alternative fuels that are likely to become more mainstream and more widely utilized by South Carolinians as a source of fuel.  In addition, the process for registering petroleum products has been updated and made more efficient for both the Department and the registrant in the event of a traceback situation, by requiring all invoices to be maintained by the retailer for at least 30 days after delivery of the petroleum products.

Instructions:  Amend R.5-440 thru 5-449, Petroleum Products Regulations, Chapter 5 to reflect the following changes:

Replace R-5-440 with the language below.

Add R-5-444.

Add R-5-445.

Add R-5-446.

Add R-5-447.

Add R-5-448.

Add R-5-449.

Text:

5-440. Registering of Gasoline

1.	All gasoline sold, offered or exposed for sale or distribution in South Carolina must be registered by each identifying brand name on registration blanks furnished by the South Carolina Department of Agriculture.

2.	Any visual publicity or news media which implies a gasoline meets the minimum qualities and octane rating of either “regular” or “premium” gasoline shall be considered as false advertising if the product so advertised is not registered as “regular” or “premium” gasoline or under test is not found to meet the requirements for “regular” or “premium” gasolines and is prohibited. (Attention is called to Section 39-1-20, Code of Laws 1976, which prohibits the making of intentional untrue statements in advertising on signs, etc., punishable as a misdemeanor.)

All manufacturers, jobbers, wholesalers, retailers and others who distribute gasoline at retail level and desire to designate the various grades or brands by numbers shall not display or use any number for the grade or grades or brand name other than the registered octane count for such grade or grades or brand name, except where a legible statement is affixed to all pumps dispensing such grade or grades indicating that such number or numbers do not represent octane numbers.

Such statement shall be readable at a reasonable distance from the dispensing pump or pumps and shall be affixed to the dispensing pump at a place thereon clearly visible to the occupant or driver of the vehicle buying the petroleum product.  The statement indicating that such number or numbers do not represent or correspond to octane numbers shall be in letters no smaller than 3/4 inches in size and shall be in a color that is in clear contrast with the background.  For the purpose of complying with this regulation, a decal in size of not less than 6”‘ × 7”‘ affixed to the dispensing pump or pumps shall be deemed a sufficient compliance.

This same requirement shall apply to any form of advertising such as billboards, posters, banners, and newspaper advertisements, which advertisement shall include a statement that the numbers used do not indicate or represent the actual octane. (The effective date of this regulation shall be July10, 1964.)

3.	All manufacturers, jobbers and wholesalers registering gasoline for sale in South Carolina may register their own guarantee for the standards of each gasoline registered. Regular or premium gasolines, as the case may be, shall meet the required minimum and maximum standards as set forth in specifications promulgated by the American Society for Testing and Materials unless other standards are promulgated by the Commissioner of Agriculture in accordance with Section 39-41-80, provided however, nothing contained herein shall prevent the registration of a gasoline with an Octane Index below 87, except that such gasoline, when so registered, may not be offered, exposed or sold as a regular gasoline.

4.	All refiners, manufacturers, producers, and all others that are registered to distribute gasoline in South Carolina shall and are hereby required to give, furnish and present to all jobbers, wholesalers, retailers, and others that either purchase, obtain, or acquire gasoline directly from such refiners, manufacturers, producers, and others that are registered to distribute gasoline in this State, a delivery invoice which shall and is hereby required to contain and include the name of the gasoline which is delivered and its registered Octane Index.

5.	All jobbers, wholesalers and others who distribute gasoline to retail distributors shall and are hereby required to give, furnish and present to the retailer of gasoline, upon delivery of gasoline to such retailer, a delivery invoice in duplicate which shall and is hereby required to contain and include the identifying brand name of the gasoline and its registered Octane Index. The retailer is hereby required to retain one of the copies of the delivery invoice which is furnished him in duplicate for a period of not less than 30 days and a copy of the invoice shall be available for inspection and disposition by the Department of Agriculture and/or its agents, servants and employees.

6.	Failure to maintain the required bill of lading for the required 30 day period shall result in a fine of not less than $75 dollars for the first offense and not less than $150 for the second offense.  All third and subsequent offenses shall be punishable by a fine of not more than $500 per violation.  Fines may be avoided if bill of lading is produced within 72 hours after citation for failure to maintain the bill of lading on premises.

  - Definitions

1.	STM International - (American Society for Testing & Materials) means the international voluntary consensus standards organization formed for the development of standards on characteristics and performance of materials, products, systems, and services, and the promotion of related knowledge.

2.	Antiknock Index (AKI - means the arithmetic average of the Research Octane Number (RON) and Motor Octane Number (MON):  AKI = (RON+MON)/2.  This value is called by a variety of names, in addition to antiknock index, including: octane rating, posted octane, (R+M)/2 octane.

3.	Automotive Gasoline, Automotive Gasoline-Oxygenate Blend - means a type of fuel suitable for use in spark-ignition automobile engines and also commonly used in marine and non-automotive applications.

4.	Automotive Fuel Rating - means the automotive fuel rating required under the amended Octane Certification and Posting Rule (or as amended, the Fuel Rating Rule), 16 CFR Part 306.  Under this Rule, sellers of liquid automotive fuels, including alternative fuels, must determine, certify, and post an appropriate automotive fuel rating.  The automotive fuel rating for gasoline is the antiknock index (octane rating). The automotive fuel rating for alternative liquid fuels consists of the common name of the fuel, along with a disclosure of the amount, expressed as a minimum percentage by volume of the principal component of the fuel. For alternative liquid automotive fuels, a disclosure of other components, expressed as a minimum percentage by volume, may be included, if desired.

5.	Aviation Gasoline - means a type of gasoline suitable for use as a fuel in an aviation spark-ignition internal combustion engine.

6.	Aviation Turbine Fuel - means a refined middle distillate suitable for use as a fuel in an aviation gas turbine internal combustion engine.

7.	Base Gasoline - means all components other than ethanol in a blend of gasoline and ethanol.

8.	Biodiesel –  means a motor vehicle fuel which is designated B100 and: (1)  meets the registration requirements for fuels and fuel additives established by the Environmental Protection Agency under section 7545 of the Clean Air Act, section 211.; (2) is a mono-alkyl ester; (3) meets the latest version of ASTM specification D 6751; (4) is intended for use in engines that are designed to run on conventional, petroleum-derived diesel fuel; and (5) is derived from non-petroleum renewable resources including, but not limited to, vegetable oils, animal wastes, including poultry fats and poultry wastes, and other waste materials or municipal solid waste and sludges and oils derived from wastewater and the treatment of wastewater.

9.	Biodiesel Blend - means a fuel comprised of a blend of biodiesel with petroleum-based diesel fuel, designated BXX.  In the abbreviation BXX, the XX represents the volume percentage of biodiesel fuel in the blend.

10.	Cetane Index - means an approximation of the cetane number of distillate diesel fuel, which does not contain a cetane improver additive, calculated from the density and distillation measurements.

11.	Cetane Number - means a numerical measure of the ignition performance of a diesel fuel obtained by comparing it to reference fuels in a standardized engine test.

12.	Denatured Fuel Ethanol - means "ethanol" as defined in item 19 below.

13.	Diesel Fuel - means a refined middle distillate suitable for use as a fuel in a compression-ignition (diesel) internal combustion engine.

14.	Distillate - means any product obtained by condensing the vapors given off by boiling petroleum or its products.

15.	EPA - means the United States Environmental Protection Agency.

16.	E85 Fuel Ethanol - means a blend of ethanol and hydrocarbons which meet the specifications of ASTM standard D 5798.

17.	Engine Fuel - means any liquid or gaseous matter used for the generation of power in an internal combustion engine.

18.	Engine Fuels Designed for Special Use - means engine fuels designated by the Director as requiring registration.  These fuels normally do not have ASTM or other national consensus standards applying to their quality or usability; common special fuels are racing fuels and those intended for agricultural and other off-road applications.

19.	Ethanol - also known as "Denatured Fuel Ethanol," means nominally anhydrous ethyl alcohol meeting ASTM D 4806 standards.  It is intended to be blended with gasoline for use as a fuel in a spark-ignition internal combustion engine. The denatured fuel ethanol is first made unfit for drinking by the addition of Bureau of Alcohol, Tobacco, and Firearms (BATF) approved substances before blending with gasoline.

20.	Fuel Oil - means a refined oil middle distillates, heavy distillates, or residues of refining, or blends of these, suitable for use as a fuel for heating or power generation, the classification of which shall be defined by ASTM D 396.

21.	Gasoline - means a volatile mixture of liquid hydrocarbons generally containing small amounts of additives suitable for use as a fuel in a spark-ignition internal combustion engine.

22.	Gasoline-Alcohol Blend - means a fuel consisting primarily of gasoline and a substantial amount (more than 0.35 mass percent of oxygen, or more than 0.15 mass percent of oxygen if methanol is the only oxygenate) of one or more alcohols.

23.	Gasoline-Oxygenate Blend - means a fuel consisting primarily of gasoline along with a substantial amount (more than 0.35 mass percent of oxygen, or more than 0.15 mass percent of oxygen if methanol is the only oxygenate) of one or more oxygenates.

24.	Kerosene - (or "Kerosine") means a refined middle distillate suitable for use as a fuel for heating or illuminating, the classification of which shall be defined by ASTM D 3699.

25.	Lead Substitute - means an EPA-registered gasoline additive suitable, when added in small amounts to fuel, to reduce or prevent exhaust valve recession (or seat wear) in automotive spark-ignition internal combustion engines designed to operate on leaded fuel.

26.	Lead Substitute Engine Fuel - means, for labeling purposes, a gasoline or gasoline-oxygenate blend that contains a "lead substitute."

27.	Leaded - means, for labeling purposes, any gasoline or gasoline-oxygenate blend which contains more than 0.013 g of lead per liter (0.05 g lead per U.S. gal). NOTE: EPA defines leaded fuel as one which contains more than 0.0013 g of phosphorus per liter (0.005 g per U.S. gal), or any fuel to which lead or phosphorus is intentionally added.

28.	Low Sulfur - means low sulfur diesel fuel that meets ASTM D 975 (e.g., Grade Low Sulfur No. 1-D or Grade Low Sulfur No. 2-D) standards.  Diesel fuel containing higher amounts of sulfur for off-road use is defined by EPA regulations.

29.	Low Temperature Operability - means a condition which allows the uninterrupted operation of a diesel engine through the continuous flow of fuel throughout its fuel delivery system at low temperatures.  Fuels with adequate low temperature operability characteristics have the ability to avoid wax precipitation and clogging in fuel filters.

30.	Lubricity - a qualitative term describing the ability of a fluid to affect friction between, and wear to, surfaces in relative motion under load.

31.	M100 Fuel Methanol - means nominally anhydrous methyl alcohol, generally containing small amounts of additives, suitable for use as a fuel in a compression-ignition internal combustion engine.

32.	M85 Fuel Methanol - means a blend of methanol and hydrocarbons of which the methanol portion is nominally 70 to 85 volume percent.

33.	Motor Octane Number - means a numerical indication of a spark-ignition engine fuel's resistance to knock obtained by comparison with reference fuels in a standardized ASTM D 2700 Motor Method engine test.

34.	Motor Oil - means an oil that reduces friction and wear between the moving parts within a reciprocating internal combustion engine and also serves as a coolant.  For the purposes of this regulation, “vehicle motor oil” refers to a motor oil which is intended for use in light-to-heavy duty vehicles including cars, sport utility vehicles, vans, trucks, buses, and off-road farming and construction equipment. For the purposes of this regulation, “recreational motor oil” refers to a motor oil which is intended for use in four-stroke cycle engines used in motorcycles, ATVs, and lawn and garden equipment.  For the purposes of this regulation, motor oil also means engine oil.

35.	Oil - means motor oil, engine oil, and/or gear oil.

36.	Oxygen Content of Gasoline - means the percentage of oxygen by mass contained in a gasoline.

37.	Oxygenate - means an oxygen-containing, ashless, organic compound, such as an alcohol or ether, which can be used as a fuel or fuel supplement.

38.	Reformulated Gasoline - means a volatile mixture of liquid hydrocarbons and oxygenates meeting the reformulated gasoline requirements of the Clean Air Act Amendments of 1990 and suitable for use as a fuel in a spark-ignition internal combustion engine.

39.	Renewable Diesel - means a motor vehicle fuel which:  (1)  Meets the registration requirements for fuels and fuel additives established by the Environmental Protection Agency under section 7545 of the Clean Air Act; (2) is not a mono-alkyl ester; (3) is intended for use in engines that are designed to run on conventional, petroleum derived diesel fuel; (4) is derived from non-petroleum renewable resources including, but not limited to, vegetable oil, animal wastes, including poultry fats and poultry wastes, and other waste materials, or municipal solid waste and sludges and oils derived from wastewater and the treatment of wastewater; and (5) meets the latest version of ASTM specification D 975.

40.	Renewable Fuel – includes cellulosic biomass ethanol, waste derived ethanol, biodiesel (mono-alky ester), non-ester renewable diesel, and blending components derived from renewable fuel.

41.	Research Octane Number - means a numerical indication of a spark-ignition engine fuel's resistance to knock obtained by comparison with reference fuels in a standardized ASTM D 2699 Research Method Engine Test.

42.	SAE - means the Society of Automotive Engineers, a technical organization for engineers, scientists, technicians, and others in positions that cooperate closely in the engineering, design, manufacture, use, and maintainability of self-propelled vehicles.

43.	Substantially Similar - means the EPA's "Substantially Similar" rule, Section 211 (f) (1) of the Clean Air Act [42 U.S.C. 7545(f)(1)].

44.	Thermal Stability - means the ability of a fuel to resist the thermal stress which is experienced by the fuel when exposed to high temperatures in a fuel delivery system.  Such stress can lead to formation of insoluble gums or organic particulates.  Insolubles (e.g., gums or organic particulates) can clog fuel filters and contribute to injector deposits.

45.	Total Alcohol - means the aggregate total in volume percent of all alcohol contained in any fuel defined in this Chapter.

46.	Total Oxygenate - means the aggregate total in volume percent of all oxygenates contained in any fuel defined in this Chapter.

47.	Unleaded - in conjunction with "engine fuel" or "gasoline" means any gasoline or gasoline-oxygenate blend to which no lead or phosphorus compounds have been intentionally added and which contains not more than 0.013g of lead per liter (0.05g lead per U.S. gal) and not more than 0.0013g of phosphorus per liter (0.005g phosphorus per U.S. gal).

48.	Wholesale Purchaser Consumer - means any person who is an ultimate gasoline consumer of fuel methanol, fuel ethanol, diesel fuel, biodiesel, fuel oil, kerosene, aviation turbine fuels, natural gas, or liquefied petroleum gas and who purchases or obtains the product from a supplier and receives delivery of that product into a storage tank.

  - Standard Fuel Specifications

1.	Gasoline and Gasoline-Oxygenate Blends - (as defined in this regulation) shall meet the following requirements:

A.	The most recent version of ASTM D 4814, "Standard Specification for Automotive Spark Ignition Engine Fuel," except that volatility standards for unleaded gasoline blended with ethanol shall not be more restrictive than those adopted under the rules, regulations, and Clean Air Act waivers of the U.S. Environmental Protection Agency (which includes rules promulgated by the State).  Gasoline blended with ethanol shall be blended under any of the following three options:

i.	The base gasoline used in such blends shall meet the requirements of ASTM D 4814; or

ii.	The blend shall meet the requirements of ASTM D 4814; or

iii.The base gasoline used in such blends shall meet all the requirements of ASTM D 4814 except distillation, and the blend shall meet the distillation requirements of the ASTM specification.

B.	Blends of gasoline and ethanol shall not exceed the ASTM D 4814 vapor pressure standard by more than 1.0psi.

C.	Minimum Antiknock Index (AKI) - The AKI shall not be less than the AKI posted on the product dispenser or as certified on the invoice, bill of lading, shipping paper, or other documentation.

D.	Minimum Motor Octane Number - The minimum motor octane number shall not be less than 82 for gasoline with an AKI of 87 or greater.

E.		Minimum Lead Content to Be Termed "Leaded" - Gasoline and gasoline-oxygenate blends sold as "leaded" shall contain a minimum of 0.013g of lead per liter (0.05 g per U.S. gal).

F.		Lead Substitute Gasoline - Gasoline and gasoline-oxygenate blends sold as "lead substitute" gasoline shall contain a lead substitute which provides protection against exhaust valve seat recession equivalent to at least 0.026g of lead per liter (0.10g per U.S. gal).

i.	Documentation of Exhaust Valve Seat Protection - Upon the request of the director, the lead substitute additive manufacturer shall provide documentation to the director that demonstrates that the treatment level recommended by the additive manufacturer provides protection against exhaust valve seat recession equivalent to or better than 0.026g per liter (0.1 g/gal) lead.  The director may review the documentation and approve the lead substitute additive before such additive is blended into gasoline.  This documentation shall consist of:

a.	Test results as published in the Federal Register by the EPA Administrator as required in Section 211(f)(2) of the Clean Air Act; or

b.	Until such time as the EPA Administrator develops and publishes a test procedure to determine the additive's effectiveness in reducing valve seat wear, test results and description of the test procedures used in comparing the effectiveness of 0.026g per liter lead and the recommended treatment level of the lead substitute additive shall be provided.

G.	Blending - Leaded, lead substitute, and unleaded gasoline-oxygenate blends shall be blended according to the EPA "substantially similar" rule or an EPA waiver for unleaded fuel.

2.	Diesel Fuel - shall meet the most recent version of ASTM D 975, "Standard Specification for Diesel Fuel Oils."

A.	Premium Diesel Fuel - All diesel fuels identified on retail dispensers, bills of lading, invoices, shipping papers, or other documentation with terms such as premium, super, supreme, plus, or premier must conform to the following requirements:

i.	Cetane Number - A minimum cetane number of 47.0 as determined by ASTM Standard Test Method D 613.

ii.	Low Temperature Operability - A cold flow performance measurement which meets the ASTM D 975 tenth percentile minimum ambient air temperature charts and maps by either ASTM Standard Test Method D 2500 (Cloud Point) or ASTM Standard Test Method D 4539 (Low Temperature Flow Test, LTFT).  Low temperature operability is only applicable October 1 - March 31 of each year.

iii.	Thermal Stability - A minimum reflectance measurement of 80% as determined by ASTM Standard Test Method D 6468 (180 min, 150 C).

iv.	Lubricity - A maximum wear scar diameter of 520 microns as determined by ASTM D 6079.  If an enforcement jurisdiction’s single test of more than 560 microns is determined, a second test shall be conducted.  If the average of the two tests is more than 560 microns, the sample does not conform to the requirements of this item.

3.	Aviation Turbine Fuels - shall meet the most recent version of ASTM D 1655, "Standard Specification for Aviation Turbine Fuels."

4.	Aviation Gasoline - shall meet the most recent version of ASTM D 910,"Standard Specification for Aviation Gasoline."

5.	Fuel Oils - shall meet the most recent version of ASTM D 396, "Standard Specification for Fuel Oils."

6.	Kerosene (Kerosine) - shall meet the most recent version of ASTM D 3699, "Standard Specification for Kerosine."

7.	Ethanol - intended for blending with gasoline shall meet the most recent version of ASTM D 4806, "Standard Specification for Denatured Fuel Ethanol for Blending with Gasolines for Use as Automotive Spark-Ignition Engine Fuel."

8.	E85 Fuel Ethanol - shall meet the most recent version of ASTM D 5798.

9.	M85 Fuel Methanol - shall meet the most recent version of ASTM D 5797, "Standard Specification for Fuel Methanol M70-M85 for Automotive Spark Ignition Engines."

10.	Biodiesel - B100 biodiesel intended for blending with diesel fuel shall meet the most recent version of ASTM D 6751, Standard Specification for Biodiesel Fuel (B100) Blend Stock for Distillate Fuels.

11 	Biodiesel Blends – Blends of biodiesel and diesel fuels shall meet the following requirements:

A.		The base diesel fuel shall meet the most current requirements of ASTM D 975, Standard Specification for Diesel Fuel Oils.

B.	The biodiesel blend stock shall meet the most current requirements of ASTM D 6751, Standard Specification for Biodiesel Fuel (B100) Blend Stock for Distillate Fuels.

C.	Exception -  Biodiesel may be blended with diesel fuel whose sulfur or aromatic or lubricity levels are outside specification ASTM D 975, Standard Specification for Diesel Fuel Oils, grades 1-D,  or 2-D, provided the finished mixture meets pertinent national and local specifications, including ASTM D 975 standards.

5-446. Classification and Method of Sale of Petroleum Products

1.	General Considerations.

A.	Documentation - When gasoline, gasoline-oxygenate blends, reformulated gasoline, M85 and M100 fuel methanol, E85 and E100 fuel ethanol, liquefied petroleum (LP) gases, compressed natural gas, liquefied natural gas, biodiesel, diesel fuel, kerosene, aviation gasoline, aviation turbine fuels, or fuel oils are sold, an invoice, bill of lading, shipping paper or other documentation must accompany each delivery other than a retail sale.  This document must identify the quantity, the name of the product, the particular grade of the product, the applicable automotive fuel rating, and oxygenate type and content (if applicable), the name and address of the seller and buyer, and the date and time of the sale.  Documentation must be retained at the retail establishment for a period not less than 1 year.

B.	Retail Dispenser Labeling - All retail dispensing devices must identify conspicuously the type of product, the particular grade of the product, and the applicable automotive fuel rating.

C.	Grade Name - The sale of any product under any grade name that indicates to the purchaser that it is of a certain automotive fuel rating or ASTM grade shall not be permitted unless the automotive fuel rating or grade indicated in the grade name is consistent with the value and meets the requirements of Regulation 5-445, Standard Fuel Specifications.

2.		Automotive Gasoline and Automotive Gasoline-Oxygenate Blends.

A.		Posting of Antiknock Index Required - All automotive gasoline and automotive gasoline-oxygenate blends shall post the antiknock index in accordance with applicable regulations, 16 CFR Part 306 issued pursuant to the Petroleum Marketing Practices Act, as amended.

B.	When the Term "Leaded" may be Used - The term "leaded" shall only be used when the fuel meets specification requirements of regulation 5-445(1)(E) above.

C.	 Use of Lead Substitute must be Disclosed - Each dispensing device from which gasoline or gasoline-oxygenate blends containing a lead substitute is dispensed shall display the following legend:  "Contains Lead Substitute."  The lettering of this legend shall not be less than 12 mm (1/2 in) in height and the color of the lettering shall be in definite contrast to the background color to which it is applied.

D.	Nozzle Requirements for Leaded Fuel - Each dispensing device from which gasoline or gasoline-oxygenate blends that contain lead in amounts sufficient to be considered "leaded" gasoline, or lead substitute engine fuel, is sold shall be equipped with a nozzle spout having a terminal end with an outside diameter of not less than 23.63 mm (0.930 in).

E.		Prohibition of Terms - It is prohibited to use specific terms to describe a grade of gasoline or gasoline-oxygenate blend unless it meets the minimum antiknock index requirement shown in Table 1.

F.		 Method of Retail Sale - Type of Oxygenate must be Disclosed - All automotive gasoline or automotive gasoline-oxygenate blends kept, offered, or exposed for sale, or sold at retail containing at least 1.5 mass percent oxygen shall be identified as “with” or “containing” (or similar wording) the predominant oxygenate in the engine fuel.  For example, the label may read “contains ethanol” or “with methyl tertiary-butyl ether (MTBE).”  The oxygenate contributing the largest mass percent oxygen to the blend shall be considered the predominant oxygenate. Where mixtures of only ethers are present, the retailer may post the predominant oxygenate followed by the phrase “or other ethers” or alternatively post the phrase “contains MTBE or other ethers.”  In addition, gasoline-methanol blend fuels containing more than 0.15 mass percent oxygen from methanol shall be identified as “with” or “containing” methanol.  This information shall be posted on the upper 50% of the dispenser front panel in a position clear and conspicuous from the driver’s position in a type at least 12.7 mm (½ in) in height, 1.5mm (1/16 in) stroke (width of type).

G.	Documentation for Dispenser Labeling Purposes - The retailer shall be provided, at the time of delivery of the fuel, on an invoice, bill of lading, shipping paper, or other documentation, a declaration of the predominant oxygenate or combination of oxygenates present in concentrations sufficient to yield an oxygen content of at least 1.5 mass percent in the fuel.  Where mixtures of only ethers are present, the fuel supplier may identify either the predominant oxygenate in the fuel (i.e., the oxygenate contributing the largest mass percent oxygen) or, alternatively, use the phrase “contains MTBE or other ethers.”  In addition, any gasoline containing more than 0.15 mass percent oxygen from methanol shall be identified as “with” or “containing” methanol.  This documentation is only for dispenser labeling purposes; it is the responsibility of any potential blender to determine the total oxygen content of the engine fuel before blending.

| Table 1. Minimum Antiknock Index Requirements |
| --- |
|  | Minimum Antiknock Index |
| Term | ASTM D 4814 Altitude Reduction Areas IV and V | All Other ASTM D 4814 Areas |
| Premium, Super, Supreme, High Test | 90 | 91 |
| Midgrade, Plus | 87 | 89 |
| Regular Leaded | 86 | 88 |
| Regular, Unleaded (alone) | 85 | 87 |
| Economy | -- | 86 |

3.	Diesel Fuel.

A.	Labeling of Grade Required - Diesel Fuel shall be identified by grades No. 1-D, No. 1-D (low sulfur), No. 2-D, No. 2-D (low sulfur), or No. 4-D.  Each retail dispenser of diesel fuel shall be labeled according to the grade being dispensed except the words "low sulfur" are not required.

B.	Location of Label - These labels shall be located on the upper 50% of the dispenser front panel in a position clear and conspicuous from the driver’s position, in a type at least 12mm (1/2in) in height, 1.5mm (1/16in) stroke (width of type).

C.	Delivery Documentation - Before or at the time of delivery of premium diesel fuel, the retailer or the wholesale purchaser-consumer shall be provided on an invoice, bill of lading, shipping paper, or other documentation a declaration of all performance properties that qualifies the fuel as premium diesel fuel as required in regulation 5-445(1)(B).

4.	Fuel Oils.

A.	Labeling of Grade Required - Fuel Oil shall be identified by the grades of No. 1, No. 2, No. 4 (Light), No. 4, No. 5 (Light), No. 5 (Heavy), or No. 6.

5.	Kerosene (Kerosine).

A.	Labeling of Grade Required - Kerosene shall be identified by the grades No. 1-K or No. 2-K.

B.	Additional Labeling Requirements - Each retail dispenser of kerosene shall be labeled as 1-K Kerosene or 2-K.  In addition, No. 2-K dispensers shall display the following legend:  "Warning - Not Suitable For Use In Unvented Heaters Requiring No. 1-K."  The lettering of this legend shall not be less than 12 mm (1/16 in) in height by 1.5 mm (1/16 in) stroke; block style letters and the color of lettering shall be in definite contrast to the background color to which it is applied.

6.	Fuel Ethanol.

A.	How to Identify Fuel Ethanol - Fuel ethanol shall be identified by the capital letter E followed by the numerical value volume percentage.  (Example:  E85)

B.	Retail Dispenser Labeling - Each retail dispenser of fuel ethanol shall be labeled with the capital letter E followed by the numerical value volume percent denatured ethanol and ending with the word "ethanol."  (Example:  E85 Ethanol)

C.	Additional Labeling Requirements - Fuel ethanol shall be labeled with its automotive fuel rating in accordance with 16 CFR Part 306.

7.	Fuel Methanol.

A.	How Fuel Methanol is to be Identified - Fuel methanol shall be identified by the capital letter M followed by the numerical value volume percentage of methanol.  (Example:  M85)

B.	Retail Dispenser Labeling - Each retail dispenser of fuel methanol shall be labeled by the capital letter M followed by the numerical value volume percent and ending with the word "methanol."  (Example:  M85 Methanol)

C.	Additional Labeling Requirements - Fuel methanol shall be labeled with its automotive fuel rating in accordance with 16 CFR Part 306.

8.	Biodiesel.

A.	Identification of Product - Biodiesel and biodiesel blends shall be identified by the capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel.  (Examples: B10; B20; B100)

B.	Labeling of Retail Dispensers Containing Between 5 % and 20 % Biodiesel - Each retail dispenser of biodiesel blend containing more than 5 % and up to and including 20 % biodiesel shall be labeled with either:

i.	The capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel and ending with "biodiesel blend." (Examples: B10 biodiesel blend; B20 biodiesel blend); or

ii.	The phrase "biodiesel blend between 5 % and 20 %" or similar words.

C.	Labeling of Retail Dispensers Containing More Than 20 % Biodiesel - Each retail dispenser of biodiesel or biodiesel blend containing more than 20 % biodiesel shall be labeled with the capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel and ending with either "biodiesel" or "biodiesel blend."  (Examples: B100 biodiesel; B60 biodiesel blend).

D.	Documentation for Dispenser Labeling Purposes - The retailer shall be provided, at the time of delivery of the fuel, with a declaration of the volume percent biodiesel on an invoice, bill of lading, shipping paper, or other document.  This documentation is for dispenser labeling purposes only; it is the responsibility of any potential blender to determine the amount of biodiesel in the diesel fuel prior to blending.

E.		Exemption. - Biodiesel blends containing 5 % or less biodiesel by volume are exempted from the requirements of Part A of this section.

  - Retail Storage Tanks

1.	Water in Gasoline, Diesel, Gasoline-Ether, and Other Fuels - Water shall not exceed 76 mm (3in) in depth when measured with water indicating paste in any tank utilized in the storage of biodiesel, diesel, gasoline, gasoline-ether blends, and kerosene sold at retail.

2.	Product Storage Identification.

A.	Fill Connection Labeling - The fill connection for any petroleum product storage tank or vessel supplying engine-fuel devices shall be permanently, plainly, and visibly marked as to the product contained.

B.	Declaration of Meaning of Color Code - When the fill connection device is marked by means of a color code, the color code shall be conspicuously displayed at the place of business.

C.	Volume of Product Information - Each retail location shall maintain on file a calibration chart or other means of determining the volume of each regulated product in each storage tank and the total capacity of such storage tank(s).  This information shall be supplied immediately to the Director of Consumer Services.

5-448. Condemned Product

1.	Stop-Sale Order at Retail - A stop-sale order may be issued to retail establishment dealers for fuels failing to meet specifications or when a condition exists that causes product degradation.  A release from a stop-sale order will be awarded only after final disposition has been agreed upon by the Director.  Confirmation of disposition shall be submitted in writing on form(s) provided by the Director and contain an explanation for the fuel’s failure to meet specifications.  Upon discovery of fuels failing to meet specifications, meter readings and physical inventory shall be taken and reported in confirmation for disposition.  Specific variations or exemptions may be made for fuels designed for special equipment or services and for which it can be demonstrated that the distribution will be restricted to those uses.

2.	Stop-Sale Order at Terminal or Bulk Plant Facility - A stop-sale order may be issued when products maintained at terminals or bulk plant facilities fail to meet specifications or when a condition exists that may cause product degradation.  The terminal or bulk storage plant shall immediately notify all customers that received those product(s) and make any arrangements necessary to replace or adjust to specifications those product(s).  A release from a stop-sale order will be awarded only after final disposition has been agreed upon by the Director. Confirmation of disposition of products shall be made available in writing to the Director.  Specific variations or exemptions may be made for fuels used for blending purposes or designed for special equipment or services and for which it can be demonstrated that the distribution will be restricted to those uses.

5-449. Product Registration & Test Methods

1.	Engine Fuels Designed for Special Use - All engine fuels designed for special use that do not meet ASTM specifications or standards addressed in Section 2 shall be registered with the Director on forms prescribed by the Director 30 days prior to when the registrant wishes to engage in sales.  The registration form shall include all of the following information:

A.  	Identity - Business name and address(es).

B.	Address - Mailing address if different than business address.

C.	Business Type - Type of ownership of the distributor or retail dealer, such as an individual, partnership, association, trust, corporation, or any other legal entity or combination thereof.

D.	Signature - An authorized signature, title, and date for each registration.

E.	Product Description - Product brand name and product description.

F.		Product Specification - A product specification sheet shall be attached.

2.	Renewal - Registration is subject to annual renewal.

3.	Re-registration - Re-registration is required 30 days prior to any changes in Section 1 above.

4.	Authority to Deny Registration - The Director may decline to register any product that actually or by implication would deceive or tend to deceive a purchaser as to the identity or the quality of the engine fuel.

5.	Transferability - The registration is not transferable.

6.	ASTM Standard Test Methods - ASTM Standard Test Methods referenced for use within the applicable Standard Specification shall be used to determine the specification values for enforcement purposes.

A.	Premium Diesel - The following test methods shall be used to determine compliance with the premium diesel parameters:

i.	Cetane Number - ASTM D 613;

ii.	Low Temperature Operability - ASTM D 4539 or ASTM D 2500 (according to marketing claim);

iii.Thermal Stability - ASTM D 6468 (180 min, 150 C);

iv. Lubricity - ASTM D 6079.

7.	Reproducibility Limits.

A.	 AKI Limits - When determining the antiknock index (AKI) acceptance or rejection of a gasoline sample, the AKI reproducibility limits as outlined in ASTM D 4814 Appendix X1 shall be acknowledged for enforcement purposes.

B. Reproducibility - The reproducibility limits of the ASTM standard test method used for each test performed shall be acknowledged for enforcement purposes, except as indicated above in subsection A.

C. Dispute Resolution - In the event of a dispute over a reported test value, the guidelines presented in the most recent version of ASTM D 3244, "Standard Practice for Utilization of Test Data to Determine Conformance with Specifications," shall be used to determine the acceptance or rejection of the sample.

Fiscal Impact Statement:

The South Carolina Department of Agriculture estimates that there will be no anticipated additional costs to the State or its political subdivisions regarding the implementation and update of standards used by the Department for the regulation of traditional petroleum products and new alternative fuels.

Statement of Rationale:

The purpose of this proposal is to improve and update Regulation 5-440 et seq., concerning the standards used by the Department, as well as the administration of the South Carolina Petroleum Products Act, S.C. Code section 39-41-10 et al.  These amendments are intended to provide standards and guidance for the Department related to the quality of traditional petroleum and alternative fuel products utilized by citizens in South Carolina.  This proposal is reasonable in that it is the Department’s responsibility and duty to implement regulations that are required by law, and to update them so that they remain consistent with the law.